## Simplex India DC INR FY26 L14
Alternate material number | Material Description | SAR Price
0206.02 | FIRERAY 50R REFLECTIVE | 7069.6068
0206.03 | FIRERAY 100R, REFLECTIVE | 8309.3341
1010-000 | LONG RANGE PRISM KIT | 1874.2295
1030-000 | SURF MNT PRISM WALL BRACKET | 1332.3173
1031-000 | Reflector Wall Bracket | 993.3995
1040-000 | SINGLE PRISM ALIGN PLATE | 3279.8109
1050-000 | 4 PRISM ALIGN PLATE | 3299.12
1090-000 | PRISM ANTI COND HEATER | 2241.0395
1100-000 | WIRE PROTEC CAGE FIRERAY ONE | 911.6695
1170-000 | ADJ BRKT REFLECT DET HEADS | 1957.8641
1260-000 | FIRERAY ONE SURF MNT BB METAL | 1760.5641
1603-9821 | SIMSYNC FOR SIMPLEX 125-0 | 122.5045
166-226 | 2 INCH RIBBON 4100 ANNUN | 69.8486
166-227 | FLEX CABLE 6" LONG 26 POS-41 | 124.8136
2004-9101 | 2004 CONVENTIONAL PANEL | 6885.1527
2008-9101 | 2008 CONVENTIONAL PANEL | 7395.1636
2050-9101 | 2050 ADDRESSABLE PANELS | 9435.2091
2080-9056 | ABORT SWITCH FLUSH | 983.0977
2080-9057 | Abort Switch Surface Mount Including Box | 1669.8791
2080-9059 | MAINT SWITCH W/LAMP FLUSH | 2127.4609
2080-9060 | Maintainance Switch, Surface Mount | 2858.1032
2080-9061 | ADD-ON N/O & N/C CONTACT MOD | 331.5582
2080-9067 | ABORT SWITCH STYLE C FLUSH | 847.2818
2080-9068 | ABORT SWITCH STYLE C SURFACE | 2087.2723
2080-9069 | MAINTENANCE DISC SWITCH FLUSH | 1595.5195
2080-9070 | MAINTENANCE DISC SW SURFACE | 2521.6486
208-163 | 3 AMP SUBMINIATURE FUSE | 34.6809
2081-9027 | TRANSIENT CUBE | 309.2568
2081-9028 | TRANSIENT CUBE FOR MAPNET I II | 510.2664
2081-9044 | OVERVOLTAGE SUPPRESSOR | 320.4855
2081-9046 | Coil Supervision Module | 348.9886
2081-9048 | ABORT SUPERVISION | 195.7932
2081-9061 | BARRIER MOD INSTALLATION KIT | 234.9114
2081-9062 | BARRIER 1 CKT KFDO-CS-EX1.51P | 5140.6077
2081-9063 | BARRIER 2 CKT KFDO-CS-EX2.51P | 7809.015
2081-9274 | 12V 10AH 5.95" LX3.86" DX3.70 | 469.3173
2081-9275 | 12V 18AH 7.13" LX2.99" DX6.57 | 734.0341
2081-9276 | 12V 33AH 7.80" LX5.20" DX6.22 | 1415.3532
2081-9279 | BATTERY 110AH | 5178.8768
2081-9287 | 12V 25AH 6.54" LX6.89" DX4.95 | 1146.4909
2081-9288 | 12V 12.7AH 5.95" LX3.86" DX3. | 538.6568
2081-9296 | 12V 50AH 9.04" LX5.45" DX8.15 | 2279.7973
2084-9001 | REMOTE PHONE JACK | 199.4145
2084-9002 | Firefighter Phone Assemblies | 3097.9236
2084-9003 | PHONE IN LOCKED CAB FLUSH | 3277.6927
2084-9006 | PHONE IN BREAK-ROD CAB SURFACE | 3853.28
2084-9007 | PHONE IN BREAK-ROD CAB FLUSH | 3913.0718
2084-9014 | PLUGGABLE PHONE W/5FT CABLE | 1398.6668
2084-9017 | PHONE PTT W/ARMOR BRK-ROD SURF | 4694.9214
2084-9021 | PHONE W/ARMOR MAG LED SURFACE | 5161.0595
2084-9023 | REMOTE PHONE JACK W/LED | 698.3586
2084-9024 | PTT PLUGGABLE TELEPHONE | 1650.0959
2088-9007 | MR101 RELAY SPDT W/LED | 303.8882
2098-9484 | HEAT DETECTOR VERT N/O 302-135 | 481.0427
2098-9485 | HEAT DETECTOR VERT N/O 302-194 | 440.2595
2098-9486 | HEAT DET VERT N/O 302-AW-135 | 490.5291
2098-9487 | Detectie HEAT DET VERT N/O 302-AW-194 | 490.5291
2098-9488 | HEAT DET VERT N/O 302-EPM-135 | 953.0582
2098-9489 | HEAT DET VERT N/O 302-EPM-194 | 953.0582
2098-9490 | HEAT DET VERT N/O 302-ET-135 | 490.5291
2098-9491 | HEAT DET VERT N/O 302-ET-194 | 490.5291
2098-9494 | HEAT DETECTOR ADAPTOR AP-P | 81.6018
2098-9806 | REMOTE TEST STA RED LED KEY SW | 204.9227
2098-9808 | REMOTE ALARM INDICATOR | 88.64
2099-9101 | PS SINGLE ACTION 2 N/O | 473.0355
2099-9102 | PULL STATION S/A IN/O I0 | 523.2205
2099-9103 | PULL STATION BREAK GLASS IN/O | 374.1441
2099-9104 | PULL STATION BREAK GLASS 2N/0 | 867.7841
2099-9136 | XAL-53 EXPLOSION PROOF STATION | 14263.9959
2099-9139 | Dual Action Station with PUSH Lever; | 478.0336
2099-9144 | PS EXPL PRF SA B LOCK DPDT | 5101.1332
2099-9149 | DBL ACT PP STN W/O LOGO | 306.5677
2099-9152 | DBL ACT PP STYL C STN W/O LOGO | 355.1718
2099-9754 | PULL STATION S/A IN/O0 | 277.8541
2099-9755 | PS SINGLE ACTION LOCAL | 342.8295
2099-9756 | PULL STATION D/A IN/O | 289.3805
2099-9757 | PULL STATION D/A 2N/O | 520.4664
2099-9759 | PULL STATION D/A 2N/O | 1070.8709
2099-9767 | PULL STATION INTRIN SAFE IN/O | 474.8714
2099-9799 | PULL STATION D/A INTRIN SAFE | 618.8986
2099-9800 | RED WIRE GUARD | 890.1295
2099-9803 | BREAKGLASS | 44.6768
2099-9804 | BREAKROD | 14.8832
2099-9814 | PS SURFACE TRIM | 200.0264
2099-9819 | FLUSH STATION HOUSING BLACK | 780.7982
2099-9822 | RETAINING CLIP FOR BRKGLASS ST | 8.4355
2099-9829 | 12 BREAKRODS FOR 2099-9138 | 114.2295
2190-9161 | MPX SIG ZAM CLASS B SURF MAP 2 | 759.8659
2190-9169 | SHORT CIRCUIT ISOL SURF MPNT 2 | 1793.7095
2190-9173 | MAPNET II 2 POINT/IO | 472.3723
2250-9101 | 2250 ADDRESSABLE PANEL | 10174.7255
2250-9800 | TIER 3 INTERNAL GATEWAY | 3509.9977
2310-9011 | CLK/ACC RECEPTACLE 810-96 | 475.5855
23901.01 | REPLACEMENT PRISM | 681.1291
252-019 | KEY B LOCK | 39.8236
2606-9101 | FS LCD REMOTE ANNUNCIATOR | 4154.6541
2606-9111 | FS LED REMOTE ANNUNCIATOR | 3739.1986
266-085 | B CAM LOCK FOR PLASTIC DOOR | 63.3355
2975-9022 | BOX RED F/A STATN 4251 4299-4 | 949.5391
2975-9053 | Firefighter Phone Backbox | 1019.2759
2975-9145 | Wall Mount Box | 448.1045
2975-9178 | Surface Mount Steel Box, Red | 377.9341
2975-9206 | 6 GANG SURF BOX, 2-3/4 IN DEEP | 1043.2409
2975-9211 | Red Weatherproof Box | 500.1791
2975-9212 | SGB-32S SURFACE BOX | 204.7736
2975-9218 | BARRIER MOD BOX W/TRIM W/PLATE | 3612.0532
2975-9227 | SUP RELEASE PERIPH BOX | 1645.415
2975-9407 | 4100U BOX #1 ONE BAY RED | 3826.7555
2975-9408 | 4100U BOX #2 RED | 4181.3568
2975-9409 | 4100U BOX #3 RED | 4364.6232
2975-9411 | 4100U BOX #2 BEIGE | 3551.3459
2975-9439 | 4100U BOX #2 PLATINUM | 3321.0795
2975-9441 | 1 BAY BB/GDOOR/DRESS PNL RED | 7749.8255
2975-9442 | 2 BAY BB/GDOOR/DRESS PNL RED | 7837.7459
2975-9443 | 3 BAY BB/GDOOR/ DRESS PNL RED | 9718.6618
2975-9444 | 1 BAY BB/GDOOR/ DRESS PNL | 6059.6482
2975-9445 | 2 BAY BOX WITH GLASS DOOR/DRESS PNL PLAT | 7467.3418
2975-9446 | 3 BAY BB/GDOOR/DRESS PNL PLAT | 8984.2223
2975-9447 | 1 BAY BOX & SOLID DOOR RED | 5360.4973
2975-9448 | 2 BAY BOX & SOLID DOOR RED | 7775.7577
2975-9449 | 3 BAY BOX & SOLID DOOR RED | 9951.1568
2975-9450 | 1 BAY BOX& SOLID DOOR PLATINUM | 5174.1605
2975-9451 | 2 BAY BOX& SOLID DOOR PLATINUM | 7538.0373
2975-9452 | 3 BAY BOX & SOLID DOOR PLATINUM | 9390.7114
2975-9457 | 3BAY BB GDOOR DRPNL PLAT ICMDR | 8534.6945
2975-9458 | 3BAY BB GDOOR DRPNL RED ICMDR | 9959.2541
2975-9461 | RED Surface Box for 4606-9202 | 823.9968
2975-9462 | 4606-9205 SURFACE BOX PLATINUM | 773.5986
2975-9812 | 4100U BOX TRIM BAND RED | 952.9477
3000-103 | FIRERAY3000 END TO END BEAM SMOKE DETECT | 12125.3532
374-123 | 4010 BRIDGE RECTIFIER 100V 35A | 75.935
4003-9304 | MULTIFUNC COMM SYST BEIGE 240V | 42623.68
4003-9803 | REMOTE MICROPHONE ON 2 GANG PL | 3740.2241
4004-9301 | 4004R RELEASE PNL BEIGE | 7089.9732
4004-9302 | 4004R RELEASE PNL RED | 7089.9732
4004-9302BA | 4004R RELEASE PNL RED BA | 7799.1945
4004-9860 | 4PT AUXILIARY RELAY MODULE | 1233.5236
4004-9864 | CLASS A ADAPTER MODULE | 653.1205
4005-9803 | 2 IDC & 2 NAC/RELAY MD CLASS B | 1841.6509
4005-9804 | 4 POINT IDC MODULE CLASS B | 683.8232
4005-9807 | POWER DISTRIBUTION MODULE | 945.1527
4006-9802 | EXPANSION IDC MODULE CONVEN | 1475.4118
4006-9803 | EXPANSION RELAY MODULE CONVEN | 1317.9332
4007-2504 | CS GATEWAY W/IP COM 4007ES | 6965.6323
4007-6301 | 4120 SM-L DUPLEX FIBER MEDIA | 4162.3773
4007-6302 | 4120 SM-R DUPLEX FIBER MEDIA | 4162.3773
4007-6303 | 4120 MM-L DUPLEX FIBER MEDIA | 4162.3773
4007-6304 | 4120 MM-R DUPLEX FIBER MEDIA | 4162.3773
4007-6306 | ESNETETHERNETMEDIACARD | 1267.215
4007-6307 | ESNETDSLMEDIACARD | 5520.7005
4007-6308 | ESNETSMFIBERMEDIACARD | 4961.1441
4007-6309 | ESNETMMFIBERMEDIACARD | 7287.7364
4007-6312 | ESMX LOOP OPTION CARD | 719.6768
4007-9101 | Single Loop Fire Alarm Panel | 11649.3209
4007-9102 | 4007ES HYBRID FACP, PLATINUM | 11709.0945
4007-9201 | 4007ES FACP, IDNAC, RED | 10896.9523
4007-9202 | 4007ES FACP, IDNAC, PLATINUM | 10956.7259
4007-9301 | 4007ESMX, NAC, RED | 11637.54
4007-9302 | 4007ESMX, NAC, PLATINUM | 11637.54
4007-9401 | 4007ESMX, IDNAC, RED | 11095.3468
4007-9402 | 4007ESMX, IDNAC, PLATINUM | 11095.3468
4007-9801 | ZONE-RELAY MODULE | 1475.4118
4007-9802 | 25V REGULATOR MODULE | 4546.4723
4007-9803 | IDNET+ LOOP EXPANSION MODULE | 945.8018
4007-9804 | DUAL CLASS A ISOLATOR - IDNAC | 1590.0114
4007-9805 | LED MODULE FOR 4007 DOOR PNL | 1584.2991
4007-9809 | ALM/SUPV/TBL RELAY MODULE | 1060.2459
4007-9810 | 4007ES MODULAR NIC | 3680.96
4007-9812 | DUAL RS232 MODULE | 3846.2323
4007-9813 | WIRED NETWORK MEDIA CARD | 1468.5368
4007-9817 | DETECTION Cnvtnl Fire Alarm Beacon, RED | 7792.6764
4007-9830 | SUP RELEASE APPLIQUE KIT | 126.5173
4009-9201 | NAC EXTENDER 120VAC IDNET | 8076.8418
4009-9301 | IDNet NAC Extender, 240VAC | 9949.0059
4009-9601 | IDNAC REPEATER PLATINUM | 9020.9268
4009-9602 | IDNAC REPEATER RED | 9020.9268
4009-9701 | 4009 EXTENDER PLUS, RED | 16106.2532
4009-9702 | 4009 EXTENDER PLUS, PLT | 16106.2532
4009-9703 | 4009 EXTENDER PLUS, IDNAC, RED | 19823.0805
4009-9704 | 4009 EXTENDER PLUS, IDNAC, PLT | 19823.0805
4009-9705 | 4009 IDNAC EXTENDER, RED | 11336.3482
4009-9706 | 4009 IDNAC EXTENDER, PLT | 11336.3482
4009-9803 | 4 CIRCUIT NAC ADD-ON STYLE Y | 1683.0573
4009-9807 | NAC Option Card | 1383.3036
4009-9808 | ADAPTER CLASS A IDNET | 691.965
4009-9809 | NAC REPEATER IDNET | 2878.3873
4009-9814 | IDNAC REPEATER CLASS A ADAPTER | 719.9164
4010-2504 | CS GATEWAY W/IP COM 4010ES | 6965.6323
4010-6301 | 4120 SM-L DUPLEX FIBER MEDIA | 4162.3773
4010-6302 | 4120 SM-R DUPLEX FIBER MEDIA | 4162.3773
4010-6303 | 4120 MM-L DUPLEX FIBER MEDIA | 4162.3773
4010-6304 | 4120 MM-R DUPLEX FIBER MEDIA | 4162.3773
4010-6306 | ES NET ETHERNET MEDIA CARD | 1267.215
4010-6307 | ES NET DSL MEDIA CARD | 5273.505
4010-6308 | ES NET SM FIBER MEDIA CARD | 4961.1441
4010-6309 | ES NET MM FIBER MEDIA CARD | 6607.9105
4010-6310 | ESNET NTWK INTERFACE CARD FLAT | 7792.6764
4010-6311 | ESMX LOOP CARD | 2864.3255
4010-6312 | ESMX LOOP OPTION CARD | 904.5559
4010-6320 | ES NET NETWRK BRIDGE FLAT CARD | 12552.6768
4010-9501 | Fire Alarm Control Panel, 240V AC RED | 20632.8132
4010-9502 | 4010ES FACP 240V PLATINUM | 20632.8132
4010-9502BA | 4010ES FACP 240V PLATINUM | 22696.2677
4010-9505 | 1 BAY,2X40,1 ESMX,220/240V,RED | 25626.0573
4010-9521 | 4010ES 2 IDNET 2 BAY RED 240V | 25756.7945
4010-9522 | 4010ES 2 IDNET 2 BAY PLAT 240V | 25756.7945
4010-9601 | 4010ES IDNAC FACP 120V RED | 21128.9523
4010-9633 | 4010ES TSD IDNAC2IDNET RED 120 | 31318.1109
4010-9701 | 4010ES IDNAC FACP 240V RED | 21403.5423
4010-9702 | 4010ES IDNAC FACP 240V PLATINUM | 21013.2305
4010-9721 | 4010ES IDNAC 2IDNET RED 240V | 25320.4291
4010-9722 | 4010ES IDNAC2IDNET2BAY240V PLT | 25756.9477
4010-9731 | 4010ES TSD IDNAC2IDNET RED 240 | 32294.8332
4010-9817 | MODULAR NETWORK MODULE | 3514.8818
4010-9818 | NETWORK MEDIA CARD | 1468.5368
4010-9823 | EXPANSION POWER SUPPLY 240V | 5670.0959
4010-9830 | SUP RELEASING APPLIQUE KIT | 125.1268
4010-9911 | ALARM RELAY MODULE | 965.4668
4010-9912 | SERIAL DACT | 3485.4382
4010-9915 | BACPAC ETHERNET PORTAL | 15975.74
4010-9918 | DUAL RS-232 MODULE | 3846.2323
4010-9920 | 8 ZONE IDC MODULE CLASS B | 4260.3282
4010-9922 | NETWORK INTERFACE CARD | 3874.5477
4010-9926 | TCP/IP PHYS BRIDGE CLASS B | 9074.5509
4010-9927 | TCP/IP PHYS BRIDGE CLASS X | 13975.0114
4010-9928 | DUAL VERT BLOCK CARD MTG KIT | 764.2518
4010-9929 | LOOP CARD | 3392.8082
4010-9930 | IDNAC DUAL CLASS A ISOLATOR | 9368.8564
4010-9934 | ES NET FLAT NIC VERT MNT BRCKT | 464.3655
4010-9936 | 4 PT 2A AUX RELAY CARD W-FB | 2805.8127
4081-9002 | EOL 3.3K 1W | 57.8132
4081-9004 | EOL 6.8K 1/2W | 55.5564
4081-9308 | 110 AH CHARGER 220VAC RED | 19831.0764
4090-5201 | MINI IAM | 328.3964
4090-5202 | DUAL INPUT IAM | 431.3677
4090-5203 | RELAY IAM | 454.3182
4090-5204 | SIGNAL IAM | 579.98
4090-5205 | MONITOR ZAM | 830.0432
4090-5206 | LINE ISOLATOR MODULE | 425.4877
4090-5250 | MULTI-INPUT OUTPUT MODULE | 783.8727
4090-5258 | MX MINI IAM | 263.9732
4090-5259 | MX RELAY IAM | 365.0659
4090-5260 | MX MONITOR ZAM | 667.0282
4090-5261 | MX DUAL INPUT IAM | 395.6914
4090-9001 | IAM SUPERVISED IDNET | 250.6705
4090-9002 | IAM RELAY, IDNET | 393.8914
4090-9005 | IDNET RELEASE PERIPHERAL | 1650.9577
4090-9006 | Suppression Release Peripheral | 2825.4627
4090-9007 | 4008 ADDRESSABLE SIGNAL ZAM | 606.9136
4090-9008 | DUAL RELAY IAM, IDNET | 792.7264
4090-9010 | 8 A Relay IAM | 685.2132
4090-9051 | IDNET E-SERIES SUPERVISED IAM | 345.3841
4090-9101 | ZAM CLASS B MONITOR, IDNET | 409.9473
4090-9106 | ZAM CLASS A MONITOR IDNET | 430.8064
4090-9116 | ADDRESSABLE IDNET 2 ISOLATOR | 445.0359
4090-9117 | ADDR IDNET 2 POWER ISOLATOR | 669.5427
4090-9118 | RLY IDNET 2 IAM W/T SENSE | 400.155
4090-9119 | RLY IDNET 2 IAM WITH FEEDBACK | 360.4718
4090-9120 | 6 POINT IDNET 2 I/O | 756.2445
4090-9121 | SECURITY MONITOR IAM | 329.8755
4090-9801 | COVER ZAM 4" FLUSH | 170.5986
4090-9802 | Trim Plate, Surface Mounted Box | 179.6768
4090-9806 | COVER IAM SG FLUSH | 135
4090-9807 | Trim Plate with LED | 115.8236
4090-9810 | Mounting Bracket | 97.4123
4090-9812 | IDNET RELEASE PERIPH LED | 113.7836
4090-9813 | 4 11/16" BOX ADAPTER PLATE | 140.7632
4098-5203 | PHOTO AND HEAT SENSOR | 384.0386
4098-5207 | 5" SENSOR BASE W/REM LED OUT | 80.3018
4098-5208 | 5" ISOLATOR BASE W/REM LED O | 200.8045
4098-5209 | LP SOUNDER BASE 85DB 3 FT | 555.9868
4098-5210 | ADDRESSABLE SOUNDER BASE | 569.0077
4098-5212 | LOOP PWR SNDR BEACON BASE | 1096.7741
4098-5214 | DUCT HOUSING,NO RELAY/DETECTOR | 1811.05
4098-5217 | ADDRESSABLE BASE SOUNDER | 587.7341
4098-5220 | ADDRESSABLE BASE SOUNDER BEACN | 1069.6936
4098-5251 | PHOTO/HEAT SENSOR-ISOL | 391.6377
4098-5252 | PHOTO SENSOR-ISOL | 368.0241
4098-5254 | PHOTO/HEAT/CO SENSOR-ISOL | 788.9364
4098-5255 | MX PHOTO/HEAT SENSOR | 349.7045
4098-5256 | MX PHOTO SENSOR | 327.0282
4098-5257 | MX HEAT SENSOR | 244.5155
4098-5260 | 4 inch CONTINUITY BASE UL | 68.5168
4098-5261 | 4" BASE UL | 59.2027
4098-5265 | Photoelectric Sensors with Heat Sensing | 374.4782
4098-5266 | MX PHOTO SENSOR + ISOLATOR | 351.8991
4098-5267 | MX HEAT SENSOR + ISOLATOR | 269.1914
4098-5268 | MX TRIPLE SENSOR + ISOLATOR | 800.2095
4098-5287 | MX SSD PHOTO/HEAT SENSOR + ISOLATOR | 370.7718
4098-5288 | MX SSD PHOTO SENSOR + ISOLATOR | 349.1682
4098-5289 | MX SSD HEAT SENSOR + ISOLATOR | 276.4559
4098-5290 | MX SSD TRIPLE SENSOR + + ISOLATOR | 780.1668
4098-5291 | MX SSD PHOTO/HEAT SENSOR | 347.0714
4098-5292 | MX SSD PHOTO SENSOR | 325.3214
4098-5293 | MX SSD HEAT SENSOR | 245.9295
4098-5601 | CONV PHOTO DETECTOR 721P | 339.5614
4098-5602 | CONV PHOTO-HEAT DETECTOR 721PH | 355.2155
4098-5610 | CONV HT ROR-FIX 135F DET 721H | 297.7682
4098-5611 | CONV HT FIX 135F DET 722H | 297.7682
4098-5612 | CONV HT FIX 200F DET 723H | 297.7682
4098-5613 | CON HT ROR-FIX 200F DET 724H | 297.7682
4098-5680 | CONV 2-WIRE RELAY BASE | 635.8664
4098-5682 | CONV 4-WIRE RELAY BASE | 733.0582
4098-9019 | ADDRESS BEAM DETECTOR SYSTEM | 14341.1609
4098-9020 | ADDRSS BEAM DETECTOR CONTROLLR | 8995.2223
4098-9403 | LIFEALARM HT DET 200 FX DIRECT | 481.8586
4098-9404 | LIFEALARM HT DET 200 RR DIRECT | 464.2632
4098-9682 | LIFEALARM 4-W DET RLY BS | 726.5109
4098-9714 | PHOTOELECTRIC SMOKE DETECTORS | 213.6945
4098-9733 | SSD TRUEALARM HEAT SENSOR | 162.6427
4098-9733E | SSD HEAT SENSOR HUMID ENV | 185.2755
4098-9733EA | HEAT SENSOR AUSTRALIA | 181.7682
4098-9734 | HIGH TEMP HEAT SENSOR | 169.5277
4098-9747 | CO CARTRIDGE EXTENDED LIFE | 1078.725
4098-9750 | SSD IN-DUCT SENSOR HOUSE W/O R | 1466.7414
4098-9751 | SSD IN-DUCT SENSOR HOUS W/REL | 1492.1909
4098-9754 IND | ANALOG PHOTO SENSOR WITH HEAT | 324.265
4098-9755 | SSD DUCT SENSOR HOUSING | 1239.1236
4098-9756 | DUCT SENSOR HOUSING 4-WIRE | 1451.135
4098-9764 | PHOTO SENSOR W/ HEAT | 303.5586
4098-9764BK | PHOTO SENSOR W/ HEAT, BK | 303.5586
4098-9770 | CO SENSOR BASE EXTENDED LIFE | 1529.9827
4098-9771 | CO SOUNDER BASE EXTENDED LIFE | 1628.9759
4098-9772 | 520HZ SOUNDER BASE | 618.6436
4098-9773 | 520HZ SOUNDER BASE WITH CO | 1451.135
4098-9774 | SSDPHOTOSENSORBLACK | 181.0541
4098-9775 | SSD SENSOR BASE W/LED BLACK | 224.915
4098-9776 | SSD SENSOR BASE BLACK | 211.6545
4098-9778 | SSDHEATSENSORBLACK | 344.7677
4098-9788 | SSD 2-WIRE DET REM LED BASE | 98.6345
4098-9788E | SSD 2-WIRE DET REM LED BASE E | 146.9341
4098-9789 | DETECTOR BASE WITH R1 | 214.4595
4098-9789 IND | LIFEALARM SENS BASE W/LED OUT | 214.4595
4098-9789E | SSD SENSOR BASE W/LED OUTPUT | 225.2209
4098-9791 | SSD SENSOR BASE W/RELAY DRIVER | 319.4709
4098-9791E | SSD SENSOR BASE W/RELAY OUTPUT | 319.9809
4098-9792 | SSD TRUE ALARM SENSOR BASE | 244.9586
4098-9792E | SSD SENSOR BASE "E" | 253.1695
4098-9793 | SSD SENSOR BASE W/ISOLATOR | 454.0632
4098-9794 | Sounder Base | 446.4641
4098-9794E | SSD SOUNDER BASE HUMID ENV | 407.4482
4098-9794EA | SSD SOUNDER BASE FOR AUSTRALI | 378.1732
4098-9822 | TRUEALARM RELAY MODULE | 338.335
4098-9830 | SSD REMOTE LED | 131.3277
4098-9832 | SSD ADAPTER PLATE | 71.6055
4098-9842 | DUCT CONTROL STATION | 942.705
4098-9843 | RELAY FORM C SPDT PAM-SD | 255.8605
4098-9845 | DUCT WEATHERPROOF ENCLOSURE | 4566.4882
4098-9846 | SECURITY VANDAL GUARD | 1954.7895
4098-9847 | EXTENSION BOX FOR 4098-9846 | 692.0909
4098-9848 | 4098 SSD Base Dust Boot | 55.285
4098-9854 | Sampling Tube for Duct Detector | 56.1014
4098-9855 | SAMPLING TUBE 24" PLASTIC | 70.4836
4098-9856 | SAMPLING TUBE 49" PLASTIC | 146.5264
4098-9857 | SAMPLING TUBE 73" PLASTIC | 202.6273
4098-9858 | SAMPLING TUBE 97" | 278.0582
4098-XAD-100 | SNGL ZN SAMPLING W/SENSOR | 19590.2482
4098-XAD-110 | SNGL ZN SAMPLING W/KIT&SENSOR | 13332.7664
4098-XAD-200 | DUAL ZN SAMPL UNIT W/SENSOR | 15051.9123
4099-5201 | PULL STATION SINGLE ACTION | 880.4327
4099-5202 | DOUBLE ACTION PULL STATION | 976.9268
4099-5203 | INDOOR CALL POINT WITH LED | 544.335
4099-5204 | OUTDOOR CALLPOINT WITH LED | 1815.3341
4099-5208 | INDOOR UL CP w ISOLATOR MX | 647.7168
4099-5209 | OUTDOOR CALL POINT (ISOLATOR) | 1828.3541
4099-5214 | MX SINGLE ACTION PULL STATION | 497.4186
4099-5215 | MX DOUBLE ACTION PULL STATION | 557.645
4099-5216 | Handle MX PULL STN DOUBLE ACT PUSH | 572.8114
4099-9004 | STATION-LED, SA ADDR | 420.6573
4099-9005 | Manual Call Point | 512.5614
4099-9006 | STATION-LED, DA PUSH ADDR | 426.9305
4099-9015 | STATION-LED, DA PP ADD,NO LOGO | 663.3209
4099-9706 | SIMPLEX CALLPOINT GLASS (PK10) | 92.8027
4099-9708 | INDOOR ENGLISH UL CP IDNET | 718.3795
4099-9710 | OUTDOOR ENGLISH UL CP IDNETET | 2590.8186
4099-9711 | SURFACE BACK BOX FOR UL CP | 44.7027
4099-9802 | Label Kit | 127.1241
4099-9805 | NO GRIP ACTUATOR ONLY KIT | 93.0259
4100-0011 | AUDIO SHIPKIT | 46.4705
4100-0292 | Custom Label Editing (USB Dongle) | 6258.3486
4100-0298 | WalkTest Configuration Setup and Contro | 6258.3995
4100-0620 | TRANSPONDER IF MODULE | 2182.4405
4100-0621 | ANALOG AUDIO RISER MODULE | 1121.39
4100-0622 | DIGITAL AUDIO RISER MODULE | 4163.9891
4100-0623 | NETWORK AUDIO INTERFACE MODULE | 1445.1109
4100-0625 | LOCAL MODE TPR IF | 2284.8505
4100-0632 | UTILITY BLOC 16 TERMINALS | 549.4864
4100-0633 | TRANSPONDER TAMPER SWITCH | 574.9868
4100-0634 | POWER DISTRIBUTION MODULE 120V | 781.7964
4100-0635 | POWER DISTRIBUTION MODULE 220V | 1032.7364
4100-0636 | BOX TO BOX HARNESS KIT | 475.5068
4100-0637 | AUDIO BOX TO BOX HARNESS KIT | 291.7518
4100-0638 | ADDITIONAL 24V HARNESS | 259.8364
4100-0640 | INFOALARM MEMORY EXPANSION MOD | 3287.1759
4100-0641 | 4100U 64/64 HARNESS | 185.2059
4100-0644 | 120 VAC PDM Harness | 433.9177
4100-0645 | 220VES-PSPDMHARNESS | 683.5477
4100-0646 | 230 VAC PDM Harness | 624.6618
4100-0647 | 240 VAC PDM Harness | 810.2041
4100-0650 | BATTERY SHELF | 601.7714
4100-1240 | AUX AUDIO INPUT MODULE | 2069.8786
4100-1241 | MESSAGE EXPANSION, 8 MINUTES | 711.0068
4100-1242 | MESSAGE EXPANSION 32 MINUTES | 1453.4814
4100-1243 | AUDIO INTERFACE W/MIKE | 2704.7941
4100-1244 | REMOTE AUDIO INTERFACE W/MIKE | 2980.0041
4100-1245 | FLEX 50 NAC EXPANSION 3 CLS B | 935.2586
4100-1246 | FLEX 50 CLASS A ADAPTER | 898.8441
4100-1248 | 100W NAC EXPANSION 6 CLASS B | 2076.4091
4100-1249 | 100W CLASS A ADAPTER | 1861.0318
4100-1252 | AUDIO IF MODULE SGL CHANNEL | 1396.105
4100-1253 | AUDIO IF MODULE MULTI-CHANNEL | 1460.6723
4100-1254 | AUDIO IF 2 CHANNEL | 1441.0877
4100-1255 | AUDIO IF 3-8 CHANNEL | 1036.5468
4100-1259 | CONSTANT SUPV NAC 25V RMS A/B | 2704.2327
4100-1266 | EXPANSION NAC CARD FOR EXP SIG | 1359.435
4100-1270 | MASTER TELEPHONE, 3 NACS | 5815.1036
4100-1271 | REMOTE MASTER PHONE | 2990.0395
4100-1272 | EXPANSION PHONE CONTROLLER | 2698.1386
4100-1274 | MICROPHONE MUX MODULE | 5860.7436
4100-1275 | HOA IBC MOD/24 SWITCH/24WH LED | 1674.4691
4100-1276 | 8 RED PLUGGABLE LED MODULE | 942.1441
4100-1277 | 16 RED/YEL PLUGGABLE LED MOD | 1084.9982
4100-1278 | 16 SW/16 RED/YEL PLUG LED | 1610.3605
4100-1279 | 2" BLANK DISPLAY MODULE | 87.5691
4100-1280 | 8 SWITCH, 8 RED LED MODULE | 1173.5359
4100-1281 | 8 SWITCH 8 YELLOW LED MODULE | 1332.6595
4100-1282 | 8 SW 16RED/YEL LED MOUDLE | 1552.1173
4100-1284 | 8 SW, 16 RED/GREEN LED MODULE | 1502.2891
4100-1285 | 16 SWITCH 16 RED LED MODULE | 1818.3941
4100-1286 | HOA MODULE/24 SWITCH/24RED LED | 2037.495
4100-1287 | 24 SWITCH, 24 RED LED MODULE | 2165.5591
4100-1288 | 64/64 LED/SWITCH CONTROLLER | 1788.8136
4100-1289 | EXPANSION 64/64 LED/SW MODULE | 1470.5155
4100-1290 | 24 POINT I/O MODULE | 2972.6518
4100-1291 | REMOTE UNIT INTERFACE (RUI) | 2730.8555
4100-1292 | REMOTE PANEL MOUNT LCD AUUNU | 5196.7091
4100-1294 | LED/SWITCH SLIDE-IN LABEL KIT | 697.8995
4100-1296 | 8 SW 16 GREEN/YELLOW LED MOD. | 1502.2891
4100-1302 | HOA 24SW/24LED W/TEXT G/Y/G | 1870.7723
4100-1312 | 50W AMP W/3 CLASS B NACS 25V | 9735.1559
4100-1313 | 50W AMP W/3 CLASS B NACS 70V | 9833.5886
4100-1318 | 100W AMP 6NAC 220/30/40VAC 25V | 11825.8282
4100-1319 | 100W AMP 6NAC 220/30/40VAC 70V | 11864.9968
4100-1326 | FLEX 50W AMP W/3 NACS - 25V | 9407.8891
4100-1327 | FLEX 50W AMP W/3 NACS - 70V | 7989.3209
4100-1329 | Fire Control Panel | 10937.7855
4100-1332 | DIG100W AMP 6NAC 220VAC 25V | 13274.3241
4100-1333 | DIG100W AMP,6NAC,220VAC,70V | 9986.7718
4100-1339 | BCK DIG.100W AMP,220VAC,70V | 12925.8877
4100-1362 | FLEX 35W AMP W/3 NACS - 70V | 9841.4868
4100-1364 | DIGITALFLEX 35W AMP 3NACS-70V | 11065.1782
4100-1411 | ES NET DIGITAL AUDIO CTRL | 15971.8709
4100-1412 | ES NET BASIC AUDIO W/MIC | 21286.3927
4100-2101 | 1BAY GLASS DOOR REAINER BEIGE | 7170.7559
4100-2102 | #2 GLASS DR & RET BEIGE | 4485.9432
4100-2103 | #3 GLASS DOOR & RETAINER | 5636.69
4100-2104 | 1 BAY GLASS DOOR&RETAINER PLAT | 4084.2223
4100-2105 | 2 BAY GLASS DOOR&RETAINER PLAT | 5371.7036
4100-2106 | 3 BAY GLASS DOOR&RETAINER PLAT | 6741.6064
4100-2112 | #2 SOLID DOO - BEIGE | 3719.9082
4100-2113 | #3 SOLID DOOR - BEIGE | 4225.0782
4100-2114 | 1 BAY SOLID DOOR PLATINUM | 4221.8505
4100-2122 | #2 GLASS DR & RET RED | 4529.7068
4100-2123 | #3 GLASS DOOR & RETAINER-RED | 6317.5732
4100-2124 | 1 BAY GLASS DOOR&RETAINER RED | 4414.0859
4100-2125 | 2 BAY GLASS DOOR&RETAINER RED | 5638.0236
4100-2126 | 3 BAY GLASS DOOR&RETAINER RED | 7325.7364
4100-2133 | #3 SOLID DOOR - RED | 6321.0905
4100-2136 | 3 BAY SOLID DOOR RED | 7817.6514
4100-2140 | RACKMT MASTER CONTROL MTNG KIT | 2207.3727
4100-2144 | RACK MOUNT PDM MOUNTING KIT | 1429.9591
4100-2145 | RACKMT OPTION BAY MTNG KIT | 2842.5636
41002151 | Indicator Only 1Bay glass | 0.16021
41002152 | Indicator Only 2Bay glass | 0.16021
41002153 | Indicator Only 3 Bay glass | 0.16021
41002161 | Indicator Only 1 Bay solid Dr | 0.16021
41002162 | Indicator Only 2 Bay solid | 0.16021
41002163 | Indicator Only 3 Bay solid | 0.16021
4100-2300 | EXPANSION BAY (PHASE 10 ONLY) | 2938.43
4100-2302 | 8 SLOT EXP BAY FILLER PANEL | 184.6241
4100-2303 | LEGACY CARD STABILIZER BRKT | 594.1418
4100-2320 | AUDIO EXPANSION BAY | 133.3032
4100-2401 | 2 UNIT PKG W/GLASS DR & RTNR | 19138.1023
4100-2504 | CS GATEWAY W/IP COM 4100 SIDE | 6808.4509
4100-2506 | CS GATEWAY W/IP COM 4100 VERT | 6808.4509
4100-3102 | MAPNET MODULE UP TO 127 PTS | 4309.22
4100-3109 | Adresable Interface Module,Simplex 4100U | 2200.6564
4100-3110 | IDNET2+2 250 POINT 4 LOOP MOD | 3101.3791
4100-3117 | MSTR CTLR IDNET2, FACTORY ONLY | #VALUE!
4100-3120 | MSTR CTLR ESMXLOOP FACTORY PID | #N/A
4100-3207 | 4 PT 2A AUX RELAY CARD W-FB | 1828.5945
4100-3208 | 4 PT 2A AUX RELAY | 4895.5714
4100-3209 | 8-Point 3A Relay Card with Feedback | 1746.6414
4100-5005 | ZONE MODULE 8 IDC CLASS B | 2311.6773
4100-5013 | 8 POINT ZONE/RELAY MODULE | 2312.1873
4100-5015 | ZONE MODULE 8 IDC CLASS A | 3954.1177
4100-5115 | XPS EXPANSION MODULE 3 NACS | 1586.135
4100-5116 | EXPANSION AUDIO SIGNAL CARD | 2098.0845
4100-5128 | BATTERY DIST TERM MODULE | 612.4191
4100-5131 | ES-PS FAN MODULE | 812.4991
4100-5401 | PSU In=240V 200W Fixed=2 Varout=2 | 6235.6709
4100-5402 | ES-XPS POWER SUPPLY | 5088.6886
4100-5403 | HARNESSFORES-PSBACKUPPS | 211.2682
4100-5450 | NAC CARD | 1347.8577
4100-5451 | Addressable Notification SLC Module | 3303.4964
4100-6033 | ALARM RELAY | 965.4668
4100-6038 | DUAL RS-232 IF CARD | 4026.5245
4100-6048 | VESDA INTERFACE KIT | 8138.4741
4100-6052 | EVENT REPORTING DACT | 3485.4382
4100-6056 | NETWORK MEDIA CARD WIRED | 1333.8368
4100-6061 | MODULAR NIC REDUNDANT | 5956.4082
4100-6069 | BACPAC ETHERNET MODULE | 15293.1432
4100-6077 | MX LOOP MODULE | 2804.4159
4100-6078 | NETWORK IFC CARD, MODULAR | 4056.1673
4100-6080 | SERIAL DACT SIDE MOUNT | 2891.4577
4100-6103 | DUAL CLASS A ISOLATOR - IDNAC | 2465.4968
4100-6104 | NETWORK IFC CARD, MODULAR | 7792.6764
4100-6110 | BACpac Ethernet Portal Modules | 75174.1373
4100-6111 | BACPAC ETHERNET MOD 15K PT CAP | 91777.815
4100-6120 | SM FIBER MODEM LEFT PORT | 45648.5877
4100-6121 | SM FIBER MODEM RIGHT PORT | 41390.3241
4100-6301 | 4120 SM-L DUPLEX FIBER MEDIA | 4162.3773
4100-6302 | 4120 SM-R DUPLEX FIBER MEDIA | 4162.3773
4100-6303 | 4120 MM-L DUPLEX FIBER MEDIA | 4162.4627
4100-6304 | 4120 MM-R DUPLEX FIBER MEDIA | 4162.4627
4100-6306 | ESNETETHERNETMEDIACARD | 1267.215
4100-6307 | ES NET DSL MEDIA CARD | 5273.505
4100-6308 | ES NET SM FIBER MEDIA CARD | 4739.0032
4100-6309 | NETWORK MEDIA CARD WIRED | 6961.42
4100-6310 | ESNET NTWK INTERFACE CARD FLAT | 7065.7477
4100-6311 | ESMX LOOP CARD | 2864.3255
4100-6312 | ESMX LOOP MEZZ CARD | 904.5559
4100-6320 | ES NET NETWRK BRIDGE FLAT CARD | 12552.6768
4100-6412 | FIBER MEDIA MM 50UM SVC KIT | 923.9323
4100-6412 | FIBER MEDIA MM 50UM SVC KIT | 917.0373
4100-6414 | FIBER MEDIA SM SVC KIT | 1258.2491
4100-6415 | DSL RETROFIT HARNESS | 297.5009
4100-7150 | MASTER UPGRADE 2X40 LCD | 8235.1014
4100-7158 | NEW MSTR CTLR UPGD NO DISPLAY | 7030.0468
4100-7164 | 4100UTSDUPGRDW/ESMCNTRLR | 21179.4009
4100-7165 | 4100ES4010ESTSDUPGRADE | 11862.7941
4100-7401 | 24 POINT I/O INTERFACE MODULE | 3557.125
4100-7402 | 64/64 LED/SW CONTROLLER MODULE | 4715.0036
4100-7403 | 32 POINT LED DRIVER MODULE | 1898.9759
4100-7404 | 32 POINT SWITCH INPUT MODULE | 2062.3836
41007905 | FACTORY BUILT-MAIN CONFIGURED | 0.16021
41007906 | NON-FACTORY BUILT BILLABLEITEM | #VALUE!
41007908 | SYSTEM WITHOUT DACT | 0.16021
4100-7911 | APPLICATIONS ENG CUSTOM LAYOUT | 0.16878
4100-8401 | PANEL MOUNTED GRAPHICS | 485.1736
4100-8402 | PLATE MOUNTED GRAPHICS | 4146.4936
4100-8802 | PROGRAMMING UNIT SOFTWARE | 2948.1714
4100-8804 | AUDIO PROGRAMMING SOFTWARE | 54.5714
4100-8901 | ADD-ON TO 4100 PANEL/SYS | 32.9364
4100-8904 | AFTMKT GRAPHICS (MODULES ONLY) | 39.6277
4100-8911 | AFTERMARKET ADD TO U.T. | 31.2636
4100-9222 | INFOALM REDUNDANT CPU 220/240V | 53621.0577
4100-9404 | TSDREMOTEDISPLAYRED | 20988.4418
4100-9405 | TSDREMOTEDISPLAYPLATINUM | 16205.2518
4100-9601 | LOCAL MODE TRANSPONDER | 6364.1759
4100-9610 | REMOTE ANNUNCIATOR | 6265.795
4100-9611 | REMOTE ANNUN EXTERNAL POWER | 6641.4182
4100-9617 | TSD BASIC REMOTE ANNUN | 18466.7441
4100-9620 | BASIC AUDIO W/MIKE-ANALOG | 11431.2377
4100-9621 | BASIC AUDIO W/MIKE-DIGITAL | 9100.3355
4100-9701 | Master Controller with 2x40 Display | 18849.3545
4100-9706 | ES-PS MSTRCNTLR TSD | 27623.4359
4100-9709 | ES-PSMSTRCTRLRNODISPLAY | 14944.7082
4100-9750 | ESNETNDU2X40 | 24550.3118
4100-9755 | ESNetNDU,TSD,ES-PS | 36357.6345
4100-9760 | ESNETNDU2X40VOICE | 45581.5968
4100-9765 | ESNetNDU-VOICE,TSD,ES-PS | 56777.6195
4100-9816 | MASTER CLOCK INTERFACE KIT | 7521.1368
4100-9843 | LED KIT YELLOW | 74.8695
4100-9844 | LED KIT GREEN | 72.4727
4100-9845 | LED KIT RED | 74.8695
4100-9852 | 4100U Module CPU bay mntg kit | 729.5714
4100-9863 | TCP/IP PHYS BRIDGE CLASS B | 9074.5509
4100-9864 | TCP/IP PHYS BRIDGE CLASS X | 13975.0114
4100-9919 | 4100U RETRO KT 2 BAY RED GLS D | 13629.3691
4100-9920 | 4100U RETRO KT 3 BAY RED GLS D | 12807.3064
4190-5050 | TrueSite Workstation Server Software | 474.42
4190-5053 | TSW CLIENT INSTALLATION CD | 490.0186
4190-5055 | TRUESITE INCIDENT COMAND.GRAPHICANNUN SW | 449.0373
4190-5061 | TSW RESTRICTED CLIENT FEATURE | 31702.8691
4190-5062 | TSW PROTECTED CLIENT FEATURE | 31702.8691
4190-5063 | TGA to TSW Upgrade Software | 83400.0464
4190-5065 | TSW FEATURE UPGRADE | 34347.995
4190-5067 | MOBILE CLIENT FOR TSW | 32336.8418
4190-6051 | ETHERNET SWITCH | 12310.7036
4190-8401 | TRUESITE WORKSTATION | 82192.9109
4190-8404 | TRUESITE INCIDENT COMMANDER | 82192.9109
4190-8408 | TSW BSIU | 65752.2886
4190-8603 | TrueSite Workstation Software Only | 82192.9109
4190-8605 | TSW AFTMKT Software Features | 10.8545
4190-8606 | TRUESITE GRAPHIC ANNUN SW ONLY | 6991.4391
4190-8901 | 4190 SERIES AFERMARKET ADDITN | 149.3823
4190-9027 | Fire Alarm System Printer | 25743.1264
4190-9050 | 4-20MA ZAM SURFACE | 2232.9823
4190-9051 | 4-20MA ZAM FLUSH | 2143.8836
4190-9803 | REPLACEMENT PAPER ROLL QTY 1 | 133.7759
4190-9807 | UPGRADE IMS TO IMS WITH DACT | 25910.6141
4190-9822 | WIRED MEDIA CARD | 1898.6191
4190-9829 | Modular Network Interface Card | 12477.4773
4190-9832 | ESNet Ext. NIC Asy,RED w/120/240VAC PS | 14092.3577
4190-9833 | ES NET EXT NIC PLAT 120/240V | 14092.3577
4190-9834 | ES NET EXT NIC RED 24VDC | 12777.7723
4190-9835 | ES NET EXT NIC PLATINUM 24VDC | 12777.7723
4190-9842 | ES NET NETWRK BRIDGE RD 120VAC | 18829.0714
4190-9843 | ES NET NETWRK BRIDGE PT 120VAC | 18829.0714
4190-9844 | ES NET NETWRK BRIDGE RD 24VDC | 18829.0714
4190-9845 | ES NET NETWRK BRIDGE PT 24VDC | 18829.0714
4190-9851 | 4120 SM-L DUPLEX FIBER MEDIA | 4162.3773
4190-9852 | 4120 SM-R DUPLEX FIBER MEDIA | 4162.3773
4190-9853 | 4120 MM-L DUPLEX FIBER MEDIA | 4162.3773
4190-9854 | 4120 MM-R DUPLEX FIBER MEDIA | 4162.3773
4190-9856 | ES NET ETHERNET MEDIA CARD | 1267.215
4190-9857 | ES NET DSL MEDIA CARD | 5273.505
4190-9858 | ES NET SM FIBER MEDIA CARD | 4739.0032
4190-9859 | ESNet NIC Dual Chnl Multi-M fiber Card | 7287.7364
450-323 | TERM BLOCK | 436.5118
454-101 | KEY FOR SWITCH | 34.0864
4602-9101 | LIFEALARM SERIAL ANNUN SCU | 2493.3941
4602-9102 | LIFEALARM SERIAL ANNUN RCU | 3645.7136
4602-9110 | YELLOW LED F/SERIAL ANNUNCIAT | 127.2477
4602-9111 | SCU/RCU ALUM TRIM PLATE | 723.4509
4602-9112 | LABELS FOR SCU/RCU 1-64 | 98.3814
4603-9101 | LCD ANNUNICIATOR | 3565.1318
4603-9111 | 6 GANG ALUM TRIM PLATE | 666.3295
4606-9101 | LCD ANNUN FOR 4010 FACP (N2) | 3484.2441
4606-9102 | REMOTE LCD REPEATER PANEL | 3484.2441
4606-9202 | 4007ES LCD Annuc. - RED | 4154.6541
4606-9205 | 4007ES COLOR LCD ANNUN, PLAT | 5416.065
478-296 | TRANSFORMER 25VRMS 4100 | 1031.9568
478-333 | 4010 TRANSFORMER 220V | 2842.5991
478-353 | 4100U 220V TRANSFORMER | 2716.5241
4901-9820 | HORN 24VDC RED NON-ADDRESSABL | 334.5673
4901-9858 | MINI-HORN RED | 357.3141
4901-9859 | MINI-HORN WHITE | 357.3141
4902-9716 | SPEAKER 25V/70VRMS RED TRUEALE | 368.3691
4902-9717 | SPEAKER 25V/70VRMS WHITE TRUEA | 367.6941
4902-9721 | SPKR 25V/70VRMS WHT CEIL TRUEA | 384.3436
4902-9722 | SPKR 25/70VRMS RED CEIL BLANK | 424.28
4903-9193 | S/V 24VDC 15CD WHT HORIZ F/S | 1174.4032
4903-9252 | A/V 24VDC 15CD RED HORIZ F/S | 1227.5464
4903-9253 | A/V 24VDC 30CD RED HORIZ F/S | 1236.3182
4903-9357 | S/V 75CD RED 25/70V NONADDRESS | 1118.8627
4903-9425 | A/V 15CD RED STD NON-ADDRESSAB | 858.6041
4903-9426 | A/V 75CD RED STD NON-ADDRESSAB | 862.735
4903-9427 | A/V 110CD RED STD NON-ADDRESSA | 863.245
4903-9433 | A/V 110CD WHITE STD NON-ADDRES | 1009.8732
4905-9815 | SMARTSYNC ADAPTER NON-ADDRESS | 904.5559
4905-9816 | TRUEALERT ADAPTER ADDRESSABLE | 963.5132
4905-9835 | TEMPORAL CODE 4 MODULE | 1207.2986
4905-9838 | SOUND DAMPER, QTY 20 PER PACK | 237.8182
4905-9847 | DUAL VO SKIRT 1.5" WHITE WAL | 187.1532
4905-9903 | PLATE FOR 2975-9145 | 141.1477
4905-9909 | AUDIBLE ADAPTOR PLATE | 389.8082
4905-9910 | V/O ADAPTOR PLATE | 508.8727
4905-9914 | SYNC CUBE STYLE Y | 331.6095
4905-9922 | SYNC CUBE STYLE Z | 245.9786
4905-9923 | A/V BOX RED SSU09032 | 662.4027
4905-9929 | ISOLATOR MODULE TRUEALERT | 1030.9877
4905-9931 | Adapter Plate, Red | 161.8336
4905-9937 | A/V HORN SKIRT 1 1/2" RED QA | 61.7623
4905-9938 | SYNC CONTROL MODULE NON-ADDRES | 485.7345
4905-9940 | A/V HORN SKIRT 1 1/2" WHT QA | 69.4636
4905-9941 | A/V HORN SKIRT 3" RED TA | 82.1118
4905-9946 | A/V SPEAKER SKIRT 3" RED TA | 168.6905
4905-9947 | S/V SPEAKER SKIRT 3" WHT TA | 82.265
4905-9961 | WIRE GUARD RED NA & TA | 1376.3373
4905-9988 | HORN/SPRK COVER RED TRUEALER | 85.8859
4905-9996 | S/V COVER RED TRUEALERT | 95.8309
4905-9997 | S/V COVER WHITE TRUEALERT | 96.4432
4906-5210 | ADDRESSABLE WALL SOUNDER WHITE | 1256.9082
4906-5211 | ADDRESSABLE WALL SOUNDER RED | 1256.9082
4906-5212 | ADDRESSABLE WALL SOUNDER WP | 1684.6877
4906-5213 | ADDRESSABLE WALL SOUNDER VID W | 1711.3632
4906-5214 | ADDRESSABLE WALL A/V VID RED | 1711.3632
4906-5215 | ADDRESSABLE WALL A/V VID WP | 2166.0136
4906-9101 | V/O M-C NON-ADDRESS, RED, WALL | 347.1645
4906-9102 | V/O M-C NON-ADDRESS RED CEIL | 400.5118
4906-9103 | V/O M-C NON-ADDRESS WHT WALL | 401.685
4906-9104 | V/O M-C NON-ADDRESS WHT CEIL | 401.4809
4906-9105 | WP MC VO NON-ADDR WALL RED | 613.0845
4906-9109 | HICD VO NON-ADDR WALL RED | 599.8755
4906-9127 | A/V M-C NON-ADDRESS, RED, WALL | 474.3105
4906-9128 | A/V M-C Non-Address Red Ceil | 646.7964
4906-9129 | A/V M-C NON-ADDRESS, WHT, WALL | 472.9336
4906-9130 | A/V M-C NON-ADDRESS WHT CEIL | 651.9473
4906-9131 | WP MC AV NON-ADDR WALL MT RED | 711.7209
4906-9132 | WP MC AV NON-ADDR WALL WHITE | 749.6145
4906-9139 | HICD AV NON-ADDR WALL RED | 686.1691
4906-9140 | HICD AV NON-ADDR CEILING RED | 929.5468
4906-9151 | S/V M-C NON-ADDRESS RED WALL | 621.2959
4906-9153 | S/V M-C NON-ADDRESS WHT WALL | 620.8368
4906-9154 | S/V M-C NON-ADDRESS WHT CEIL | 713.0977
4906-9160 | S/V MC NON-ADDR RED CEIL FIRE | 756.8059
4906-9202 | MC TRUEALERT V/O CEILNG MT RED | 657.7614
4906-9228 | MC TRUEALERT A/V CEILNG MT RED | 903.3832
4906-9230 | MC TRUEALERT A/V CEILNG MT WHT | 858.2468
4906-9251 | MC TRUEALERT S/V WALL MT RED | 870.7932
4906-9254 | MC TA S/V CEILNG MT RND WHITE | 919.6014
4906-9256 | mc address sv ceiling wht aler | 803.5736
4907-9002 | TMA ADJUSTABLE BRACKETS | 2011.33
49AO-WRF | Addressable Horn, Red | 493.2827
49AO-WRF-BA | AO COVER, WALL WHITE LOGO ONLY | 611.2645
49AO-WWF | AO, WALL WHITE FIRE | 493.2827
49AV-APPLC | AV APPLIANCE ONLY CEILING | 969.2764
49AV-APPLW | AV APPLIANCE ONLY WALL | 583.81
49AV-APPLW-O | AV APPLIANCE ONLY WALL WP | 566.3164
49AVC-CRFIRE | AV COVER, CEILING RED FIRE | 87.5177
49AVC-WRALT | AV COVER, WALL RED ALERT | 58.1414
49AVC-WRFIRE | AV COVER, WALL RED FIRE | 58.1414
49AVC-WRFIRE-O | AV COVER, WALL RED FIRE WP | 232.565
49AV-WRF | AV, WALL RED FIRE | 729.5714
49AV-WRF-BA | AV, WALL RED FIRE USA | 818.5173
49AV-WRFO | AV, WALL RED FIRE WP | 886.3995
49AV-WRFO-BA | AV, WALL RED FIRE WP USA | 1207.4009
49AV-WWF | Wall Mount Audible/Visible Notification | 729.5714
49AV-WWF-BA | AV, WALL WHITE FIRE USA | 818.5173
49AV-WWFO-BA | AV WALL WHITE FIRE W | 1207.4009
49AV-WWS-BA | AV, WALL WHITE LOGOS ONLY USA | 818.5173
49CMP-MTWW | Mounting Plate White | 155.0945
49CMTV-APPLW-BA | CONVEN MTV APPL ONLY, WALL BA | 816.6332
49CMTVC-WWALT | Separate Covers White | 87.62
49CMTV-WRF | CONVEN MTV WALL RED FIRE | 738.9555
49HFV-APPLC | HIFI SV APPLIANC ONLY CEILING | 1350.1527
49LENS-AMBER | NOT.APPL. AMBER LENS | 116.3336
49LENS-BLUE | NOT.APPL. BLUE LENS | 116.3336
49LENS-RED | NOT.APPL. RED LENS O | 377.7655
49MP-AVVOWR | MOUNTING PLATE AVVOAO WALL RED | 87.5177
49MP-AVVOWW | MOUNTING PLATE AVVOAO WALL WHT | 87.5177
49MP-SOWW | MTG PLATE SPKR WALL WHITE | 72.2177
49MP-SVWW | SV MOUNTING PLATE WALL WHITE | 72.2177
49MTV-WRF | MTV, WALL RED FIRE | 752.3686
49MT-WRF | MT, WALL RED FIRE | 482.7768
49SO-APPLC | SPEAKER APPLIANCE ONLY CEILING | 941.8891
49SO-APPLC | SPEAKER APPLIANCE ONLY CEILING | 941.8891
49SO-APPLW | SPEAKER APPLIANCE ONLY WALL MT | 635.3209
49SO-APPLW-O | SPEAKER APPLIANCE ONLY WALL WP | 871.5582
49SOC-CK | SO COVER CEILING BLACK BLANK | 119.1386
49SOC-CRFIRE | COVER SPKR ONLY CEIL RED FIRE | 103.3791
49SOC-WWFIRE | SPKR COVER WALL WHITE FIRE | 72.2177
49SV-APPLC | SPKR/VIS APPLIANC ONLY CEILING | 1398.6041
49SV-APPLW | SPKR/VIS APPL ONLY WALL | 1097.5955
49SV-APPLW-O | SPKR/VISIBLE APPL ONLY WALL WP | 1461.6414
49SVC-CWFIRE | SV COVER CEIL WHITE FIRE | 81.5
49SVC-WWFIRE | SV COVER WALL WHITE FIRE | 76.9609
49VO-APPLC | VO APPLIANCE ONLY CEILING | 775.5232
49VO-APPLW | ADDR VO APPLIANCE ONLY WALL MT | 485.5818
49VO-APPLWE | VO APPL ONLY USE W/C | 1226.5532
49VOC-CWF | VO COVER, CEILING WHITE FIRE | 56.2541
49VOC-WRFIRE | VO COVER, WALL RED FIRE | 58.1414
49VOC-WWFIRE | VO COVER, WHITE WALL FIRE | 58.1414
49VOC-WWS | VO COVER, WALL WHITE LOGO ONLY | 58.1414
49VOH-APPLC | VO HICD APPLIANCE ONLY CEILING | 1058.0695
49VO-WRA-A | VO WALL RED ALERT AM | 631.1391
49VO-WRF | VO, WALL RED FIRE | 631.1391
49VO-WRF-BA | VO, WALL RED FIRE USA | 719.21
49VO-WRFO | VO, WALL RED FIRE WP | 775.7273
49VO-WRSO-BA | VO, WALL RED LOGOS ONLY WP USA | 1056.1314
49VO-WWF | VO, WALL WHITE FIRE | 631.1391
49VO-WWF-BA | ADDR VO WALL WHT FIRE BA | 859.3182
49WPBB-AVVOWR | WP BACK BOX AV OR VO WALL RED | 186.6641
49WPBB-AVVOWW | WP BACK BOX AV | 190.4382
49WPBB-SOWW | WEATHERPF BACK BOX SPEAKR WALL WHITE | 320.1341
49WPBB-VOCR | WPBACKBOX,VOCEILING,RED | 350.5818
5000-005 | UNIVERSAL ALIGNMENT BRACKET | 2096.5177
5000-006 | REFLECTOR WALL BRACKET | 1306.6291
5000-007 | 4 PRISM ALIGNMENT ADPTR PLATE | 1402.4182
5000-031 | ADDITIONAL 5000 HEAD AND PRISM | 8404.0591
5000-103 | F-5000 BEAM DETECTOR SYSTEM | 13804.4059
516.850.900 | 850EMT Engineering Management | 10468.8045
516-086 | BREAK GLASS | 37.3509
553-431 | DETECTOR CLEANER | 8062.9727
553-805 | SSD SMOKE DET TEST TOOL | 2388.485
553-810 | SSD MAGNET TEST TOOL | 2387.8036
562-727 | 32PT MOTHER BOARD | 853.3509
562-729 | LED/SWITCH CONTROLLER | 2285.5136
562-799 | CLASS B MOTHER W/SUPPLY | 1496.1182
562-817 | 4602 SCU PC BOARD | 2467.0777
562-856 | CLASS B MOTHER BOARD | 654.5486
562-858 | MOTHER BD 32 PO | 1198.1695
562-939 | MAPNET II CLASS B SIGNAL BD | 773.2791
565-028 | 8 AMP POWER SUPPLY BOARD 4100 | 1250.8464
565-035 | RCU/SCU GRAPHIC I/O BOARD | 3236.6845
565-079 | 8AMP 100WATT POWER SUPPLY 4100 | 1471.3395
565-087 | PC BD 24PT I/O | 3594.2536
565-089 | PC BD 64/64 LED/SW CONTROL | 4141.5977
565-110 | PC BD 32PT LED | 1606.2805
565-112 | PC BD 32 PT SWITCH | 1757.7027
565-217 | 4100 CLASS A RUI BD | 2228.0355
565-226 | 4100 MONITOR/SECURITY BD | 1560.0227
565-231 | 4100 MONITOR SEC CLASS A | 2873.7095
565-233 | 4100 REMOTE INTERFACE II | 1947.2232
565-274 | UT UNIVERSAL MASTER | 2124.605
565-275 | MOTHER BOARD CL B POWER CD FOR NET CD | 1166.855
565-301 | REDUNDANT CPU ASSY/4100 | 1932.1268
565-413 | LEFT PORT/RIGHT PORT- WIRED RS 485 MEDIA | 1404.2227
565-453 | SIG CARD 6Z CLASS B PCA 4100 | 1432.0095
565-792 | 4010 EXPANSION PWR SUPPLY PCA | 4040.8114
565-831 | 4098 2WIRE DUCT SENSOR PC BD A | 325.2341
565-925 | 4098 4 WIRE DUCT SENSOR PC BD | 449.6259
566-060 | 4100U LED/SW CONTROL BD | 1209.9509
566-075 | 4100U EXT POWER SUPPLY BD | 3021.7073
566-1422 | NAC POWER SUPPLY BOARD | 6326.5682
566-1424 | IDNAC POWER SUPPLY BOARD | 6043.2886
566-221 | 4100U EXPANSION BD | 1114.6809
566-221 | 4100U/ES EXPANSION BD | 1114.6809
566-246 | 4100U PDM BD | 631.2691
566-248 | 4100U FIRE ALARM | 774.4582
566-262 | 4100U LCD DISPLAY BD | 2320.3473
566-277 | 4100U REMOTE PS BD | 4774.5127
566-318 | 4100U 3-8 CHANNEL AUDIO BD | 925.1605
566-826 | 4020 NTWK MODULAR BD ASSY | 7350.6373
566-848 | ETHERNET CONNECTOR FOR UI DOOR | 220.1718
566-998 | 4100U/ES DIG AUDIO DECODER BD | 1186.6177
59AO-WRSO | AO WALL RED LOGO WP | 702.3709
59AV-APPLWW | AV LED APPLIANCE ONLY WALL WHT | 1088.5682
59AVC-WWF | AV COVER WALL WHITE FIRE | 87.5177
59AV-WRF | AV LED WALL RED FIRE | 1176.035
59AV-WRFO | AV LED WALL RED FIRE WP | 1470.4136
59AV-WWF | AV LED WALL WHITE FIRE | 1176.035
6010-300 | Fireray One - 164ft(50m) Detection Range | 7848.3618
617-836 | 6' DB25-M TO DB9-F CABLE | 402.4882
630-201 | PULL STATION ROD | 10.4236
630-609 | GLASS RETAINER DBL ACTION | 5.9673
631-033 | OLD STYLE DUCT DET COVER | 418.4641
6334-9135 | 2.5" RED LED CLK 230 VAC | 2493.0882
6334-9140 | 4.0" RED LED CLK 120 VAC | 3211.5336
6334-9802 | GANG BOX ADAPTER PLT | 235.6877
635-946 | MIC ASSY 4100 AUDIO | 2161.2727
636-058 | 4100 POWER SUPPLY | 10909.6682
636-409 | 4603 LCD ANN KEYBOARD | 1047.4045
636-760 | 4010 KEYBOARD MTG PLATE | 360.8477
636-820 | 4010 KEYBOARD | 431.4486
637-599 | 4004R OVERLAY | 547.0745
6500-9001 | TCC MASTRCLK 120V/240V 50/60HZ | 35454.5086
650-1610 | EXTENDED SYSTEM SUPPLY W/IDNET | 6691.2973
650-2493 | MAIN SYSTEM SLAVE II W/IDNET2 | 6496.4218
650-2560 | EXTENDER PLUS PSU | 5856.4695
650-2564 | EXTENDER PLUS CONTROL CARD | 4012.105
650-2566 | IDNAC, EXTENDER PS BOARD ASSEM | 5564.0791
650-2681 | WIRE SHIELD | 349.8
650-440 | 4010ES CPU BOARD AND 2X40 LCD | 8023.6509
650-441 | 4010ES CPU BD NO DISPLAY | 7930.8795
650-442 | MAIN SYSTEM SUPPLY W/IDNET+ | 7379.7023
650-443 | MAIN SYSTEM SUPPLY | 5832.4841
650-444 | 4010ES TOP BAY PDI | 1284.8714
650-445 | 4010ES PDI BAY 2 | 1542.3077
650-481 | 4010ES EXPANSION BAY PAN | 2025
650-528 | BRIDGE RECTIFIER ASSY 100V 35A | 419.0255
650-662 | 4010ES 1-BAY 2X40 LCD RETAINER | 5328.5468
650-668 | AC TERMINAL BLOCK AND COVER | 543.7232
650-759 | RUI+, CPU MOTHERBOARD | 1898.415
695-032 | 2084 SURFACE MOUNT DOOR ONLY | 1060.2114
733-525 | CABLE 4100 EXPANSION | 718.5795
733-542 | HARNESS 4100 | 388.0886
733-621 | BATTERY TO BLOCK HARNESS 4100 | 267.3586
733-669 | 4100 UT CPU CABLE | 875.685
733-749 | BATTERY HARNESS | 276.4923
733-751 | AC DIST BLOCK TO P/S 120V | 422.3682
733-794 | DOWNLOAD HARNESS-4100 | 211.4795
733-929 | S DACT POWER/COMM HARNESS 48 | 230.6073
733-937 | RS-232 PRINTER CABLE | 5546.8273
733-952 | 4010 COMMUNICATION HARNESS | 149.2073
733-953 | 4010 N2 COMM HARNESS (LONG) | 285.8414
733-972 | NAC XTNDR SIG PWR HARNESS | 113.2082
734-008 | 4100U PDI PWR/COM HARNESS | 90.9641
734-013 | HARNESS 220/240V PDM 4100 | 518.2755
734-033 | DIRECT DRIVE HARNESS | 234.2991
734-051 | 4100U PDI HARNESS | 161.5109
734-052 | HARNESS ASSY AUDIO 4100 | 139.7505
734-073 | 4100U REDUND CPU PWR HARNESS | 188.8595
734-074 | 4100U REDUND BACK UP HARNESS | 363.2659
734-075 | HARNESS PWER+COMMS 4100 | 233.9923
734-076 | HARNESS ASSY AUDIO 4100 | 299.4886
734-078 | 4100 PWER/COMM HARNESS | 300.9395
734-081 | 4100U/4020 POWER HARNESS | 448.0509
734-084 | 4100U/ES RETROBAY P/COM HARNSS | 188.4295
734-085 | 4100U RETRO DIRECT DRIVE HARNE | 289.6023
734-087 | 4100U RETRO BOX P/COM HARNESS | 294.5991
734-091 | 4100U VARISTOR HARNESS | 100.6355
734-095 | 4100U 24V LAGACY HARNESS | 270.6895
734-096 | 4004R BATTERY HARNESS | 72.0514
734-104 | 4100U GROUND STRAP | 78.5668
734-282 | POWER/COMMS HARNESS 6 PIN | 149.9591
734-303 | GENERIC BATTERY HARNESS ASSEMBLY | 313.2536
734-305 | HARNESS, AC TO POWER SUPPLY | 313.2536
734-335 | 4007ES NIC HARNESS | 161.2423
734-374 | LED TO BOARD HARNESS | 135.7432
734-375 | EXTENDER PLUS BATTERY HARNESS | 387.1064
734-376 | LED HARNESS | 137.8214
734-380 | EXTENDER PLUS LED TO BOARD HAR | 162.2532
740-801 | 4100 UPS SW REV 1.03 | 235.4723
741-101 | 4120/4010 NTWK CARD FIRMWARE | 389.2405
742-342 | 4100U SPS BD 120V | 4953.2809
742-346 | 4009A CPU BD | 6879.5423
742-351 | 4100U PDI BD | 1409.4673
742-590 | 4100U 2X40 IFC BD | 4370.3377
743-180 | REPLACEMENT DISPLAY 4010 | 1639.7373
743-182 | PANEL MODULE | 5513.8341
743-2265 | RUI+ CPU/MTHR BD FOR SPS | 1793.1486
743-2400 | TSD REMOTE DISPLAY ASSY | 15618.8682
743-457 | 4100U 100W AMP PC BD | 5461.5586
743-577 | 4006 Electronic Bay Assembly | 7813.5259
746-149 | MF COMM REPLCMNT MOTHERBD 240V | 19219.61
746-177 | COMPACT FLASH - ES MSTR CTLR | 610.7895
8562-789 | GRAPHIC I/O | 2464.4255
8565-087 | PC BD 24PT I/O | 3594.2536
8565-415 | RS232/2120 MODEM ASSY 4100 | 3213.4282
8566-521 | 4100U 100W AMP BD | 5366.5109
8566-719 | 4100ES MASTER CONTROLLER BD | 7450.0918
8650-440 | 4010ES CPU BOARD AND 2X40 LCD | 8721.3464
8650-697 | EPS POWER SUPPLY 240V | 10981.8345
8699-551 | 4007 FRONT ASSY W/ELECTRONICS | 6728.5282
8740-802 | POWER SUPPLY ASSY (-6005) | 14390.1918
976200 | PHONE JACK SINGLE GANG | 964.4823
976243 | DPDT CONTACT FOR 976200 PHJACK | 585.1359
AMT-12/24-R | 12/24 VDC FLUSH | 1177.625
DBB-R | MOUNTING ACCESSORY,STEEL | 167.3336
DH1224FPC | 12/24 V, FLUSH MT, CHROME | 629.8591
DH1224GPC1 | 12/24V,GROUND MT,SNGLDOOR,CHRM | 927.5645
DH1224SPC | 12/24 V, SURFACE MT, CHROME | 712.9055
DH24120FPC | DR HLDR,SEMI-FLUSH,CHRM | 617.3332
ELSPKR | SPEAKER, RED, WALL, FIRE | 603.9132
GSA4098-9714 | SSD PHOTO SENSOR (USA) | 865.7441
GSA4098-9733 | SSD HEAT SENSOR | 502.055
GSA4098-9792 | SSD SENSOR BASE | 588.4509
GSA4098-9794 | SSD SOUNDER BASE GSA | 1049.0423
INT2099-9144 | PS EXPL PRF SA B LOCK DPDT | 6219.0777
INT-GB6-24 | BELL 6 INCH 24 VDC | 397.5086
MBA-246 | 6" 24VDC FIRE MOTOR BELL POLAR | 476.4805
MB-G6-24-R | BELL24 VDC 6" SHELL | 927.5705
SBL2-R | SURFACE MOUNT BACKBOX FOR USE WITH RSS | 441.76
SHBB-R | SURFACE BACKBOX,RED,FOR AS/RS | 268.4559
SSU00566 | ETC FPC 5-PHONE CAB STORAGE | 5086.4021
STH-15SR | Loud Speaker, Red, | 3197.6527
STS-10.0 | SAMPLING TBE FOR 60"-120" DUCT | 291.4109
STS-2.5 | SAMPLING TUBE FOR 12"-30" DUCT | 153.5995
STS-5.0 | SAMPLING TUBE FOR 30"-60" DUCT | 170.8532
TRUESTART2 | TSI2 INSTRUMENT IDNET/IDNAC | 19533.3909
TSI-BAG | TRUESTART TOOL BAG | 999.6927
WBB-R | WEATHER PROOF BELL BACKBOX-RED | 318.2573
WBB-R-3/4T-3/4B | OUTDOOR BACKBOX W/THREADED | 405.8805
YBN-R/4-IS | INTRINSICALLY SAFE 4 INCH BASE | 146.6236